GLASS ETCHED SIGNAGE by Matthews International

Note: These specifications were current at the time of publication but are subject to change without notice. Please confirm the accuracy of these specifications with the manufacturer and / or distributor prior to installation.

SECTION 10 14 00 SIGNAGE

SPECIFIER NOTE:  This product guide specification is written according to the Construction Specifications Institute (CSI) Format, including MasterFormat, SectionFormat, and PageFormat, as contained in the CSI Manual of Practice.

The section must be carefully reviewed and edited by the Architect to meet the requirements of the project and local building codes. Coordinate this section with other specification sections and the drawings.

Delete all italicized "Specifier Notes" when editing this section.

This section covers glass etched signage manufactured by Matthews International.  For assistance with specific product applications, please contact the manufacturer.   Detailed technical information, including available sizes, may be obtained from the Matthews International corporate website at www.matthewsid.com.  Contact the manufacturer for additional information and for assistance in editing this section for your specific application.

PART 1:   GENERAL

1.1 Section Includes

- Glass Etched Signage

1.2 Related Sections

SPECIFIER NOTE:  Edit the following list of related sections as required for the project. List other sections with work directly related to this section.

- Section 09 70 00 – Wall Finishes

- Section 10 13 10 – Directories

- Section 10 13 23 – Panel Signage

1.3 Submittals

- Comply with Section 01 33 00 - Submittal Procedures.

- Product Data: Submit manufacturer's product data, including installation instructions.

- Warranty: Submit manufacturer’s limited warranty against defects in craftsmanship and materials.

1.4 Quality Assurance

- Manufacturer Qualifications: Company specializing in manufacturing products specified in this section with minimum five years documented experience.

- Installer Qualifications: Minimum two years documented experience in work of this Section.

1.5 Delivery, Storage and Handling

- Comply with manufacturer's recommendations for delivery, storage and handling.

- Deliver materials to site in manufacturer’s original, unopened packaging, with labels clearly identifying product name, manufacturer, and location of installation. Upon delivery, materials shall be inspected for damage. Deficient materials shall not be used.

- Storage: Store materials in a clean, dry area indoors in accordance with manufacturer’s instructions. Keep temporary protective coverings in place.

- Handling: Protect materials and finish from damage during handling and installation.

PART 2:  PRODUCTS

2.1 Manufacturer

- Matthews International Corporation.  2 North Shore, Pittsburgh, PA 15212
Phone: (412) 571-5500 Toll Free: 1-800-950-1317 Fax: 1-866-814-4028 Web:  www.matthewsid.com.

SPECIFIER NOTE:  Delete one of the following two paragraphs; coordinate with requirements of Division 1 on product options and substitutions.

- Substitutions: Not permitted.

- Requests for substitutions will be considered in accordance with provisions of Section 01600.

SPECIFIER NOTE:  Edit the following paragraphs as required to specify material and thickness applicable to the project.  Delete those not required. Contact Matthews for other metals.

### 2.2  Etched Plaques

#### Material and Thickness:

  - [Jade] or [Low Iron] Annealed Glass up to 120 sq in.  [1/4”]  [3/8”] [1/2”] [3/4”]  [ ______ ]

  - [Jade]  Laminated Glass over 120 sq in.  [1/4”]  [3/8”] [1/2”] [3/4”] [ ______ ]

SPECIFIER NOTE:  It is recommended to laminate any glass signage over 120 square inches. Tempered glass can have recessed graphics but not raised graphics.   In addition to square and rectangular sizes, glass etched signage can cut into a variety of custom shapes to fit into virtually any design environment.

#### Size:   [____] tall x [_____] wide x [_____] thick

#### Edge Options:  [Flat Polished] [Bevel Edge]  [________]

- Corner Options:  [Square Corners] [Radius Corners ____°][________]

- Finishes:

##### Recessed Areas – Front Surface:

##### No Paint

##### Painted (specify PMS color):  [ _______ ]

  - Raised Areas – Front Surface:

##### No Paint

##### Painted (specify PMS color):  [ _______ ]

##### Recessed Areas – Back Surface:

##### No Paint

##### Painted (specify PMS color):  [ _______ ]

  - Raised Areas – Back Surface:

##### No Paint

##### Painted (specify PMS color):  [ _______ ]

  - Clear Coating: [No Clear Coat] [Satin Clear / ADA]

- Graphics

  - Customer supplied art is preferred.

  - Lettering Recessed / Incised Standard Etching  [________]

  - ADA Braille & Graphics Raised Deep Etching 0.032”

- Mounting Methods: [None]  [Double Faced Tape] [Silicone Mount] [Drill Holes (specify: Quantity, Size, Location) ____________________________________]

PART 3:  EXECUTION

3.1 Examination

- Site Verification of Conditions:  Verify installation conditions previously established under other sections are acceptable for product installation in accordance with manufacturer's instructions.

- If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

3.2 Installation

- Clean surfaces thoroughly prior to installation.

- Install signage in accordance with manufacturer’s instructions using mounting methods specified.

- Install signage level, plumb, at heights and locations indicated.

- Install product at heights to conform to Americans with Disabilities Act Accessibility Guidelines (ADAAG) and applicable local amendments and regulations.

3.3  Cleaning and Protection

### Clean the installed product in accordance with manufacturer's instructions.

### Remove construction debris from project site in accordance with provisions outlined in Division 1.

END OF SECTION