WATER JET CUT LETTERS by Matthews International

Note: These specifications were current at the time of publication but are subject to change without notice. Please confirm the accuracy of these specifications with the manufacturer and / or distributor prior to installation.

SECTION 10 14 20 Dimensional Letters

SPECIFIER NOTE:  This product guide specification is written according to the Construction Specifications Institute (CSI) Format, including MasterFormat, SectionFormat, and PageFormat, as contained in the CSI Manual of Practice.

The section must be carefully reviewed and edited by the Architect to meet the requirements of the project and local building codes. Coordinate this section with other specification sections and the drawings.

Delete all italicized "Specifier Notes" when editing this section.

This section covers Water-Jet Cut letters and logos manufactured by Matthews International.  For assistance with specific product applications, please contact the manufacturer.   Detailed technical information, including available sizes, may be obtained from the Matthews International corporate website at www.matthewsid.com.  Contact the manufacturer for additional information and for assistance in editing this section for your specific application.

PART 1:   GENERAL

1.1 Section Includes

- Water-Jet Cut Letters

- Water-Jet Cut Logos

1.2 Related Sections

SPECIFIER NOTE:  Edit the following list of related sections as required for the project. List other sections with work directly related to this section.

- Section 09 70 00 – Wall Finishes

- Section 10 13 10 – Directories

- Section 10 13 23 – Panel Signage

- Section 10 14 16 – Plaques

- Section 10 14 26 – Post & Panel

1.3 Submittals

- Comply with Section 01 33 00 - Submittal Procedures.

- Product Data: Submit manufacturer's product data, including installation instructions.

- Warranty: Submit manufacturer’s standard lifetime warranty against defects in craftsmanship and materials.

1.4 Quality Assurance

- Manufacturer Qualifications: Company specializing in manufacturing products specified in this section with minimum five years documented experience.

- Installer Qualifications: Minimum two years documented experience in work of this Section.

1.5 Delivery, Storage and Handling

- Comply with manufacturer's recommendations for delivery, storage and handling.

- Deliver materials to site in manufacturer’s original, unopened packaging, with labels clearly identifying product name, manufacturer, and location of installation. Upon delivery, materials shall be inspected for damage. Deficient materials shall not be used.

- Storage: Store materials in a clean, dry area indoors in accordance with manufacturer’s instructions. Keep temporary protective coverings in place.

- Handling: Protect materials and finish from damage during handling and installation.

PART 2:  PRODUCTS

2.1 Manufacturer

- Matthews International Corporation.  2 North Shore, Pittsburgh, PA 15212
Phone: (412) 571-5500 Toll Free: 1-800-950-1317 Fax: 1-866-814-4028 Web:  www.matthewsid.com.

SPECIFIER NOTE:  Delete one of the following two paragraphs; coordinate with requirements of Division 1 on product options and substitutions.

- Substitutions: Not permitted.

- Requests for substitutions will be considered in accordance with provisions of Section 01600.

SPECIFIER NOTE:  Edit the following paragraphs as required to specify the Water-Jet Cut letters and logos applicable to the project.  Delete those not required.

### 2.2  Water-Jet Cut Letters and Logos

#### Material:

  - [Aluminum Alloy 6061]

  - [Commercial Bronze 90/10]

  - [Brass 70/30]

  - [Copper]

  - [Zinc]

  - [Muntz Metal 60/40]

  - [Stainless Steel Alloy 304]

  - [Optional Stainless Steel Alloy 316]

#### Thickness:  [0.125”] [0.1875”] [0.250”] [0.375”] [0.5”] [________]

  - [Zinc] [.064”] [.125”] [.153”] [.250” (laminated)]

- Finishes:

  - Aluminum: [Brushed Satin (horizontal grain)] [Brushed Satin (vertical grain)] [Polished] [Duranodic 311 Light Bronze (Use painted equivalent M311 for cast letters)] [Duranodic 312 Medium Bronze (Use painted equivalent M312 for cast letters)] [Duranodic 313 Dark Bronze (Use painted equivalent M313 for cast letters)] [Duranodic 335 Black][Painted]

SPECIFIER NOTE:  Specify color for painted finish.  Black, white and painted equivalents for Duranodic colors are also available.  Custom color match available for an additional fee.

##### Painted Aluminum:  [M102 Orange] [M38 Green] [M107 Red] [M20 Light Blue] [M115 Dark Red] [M25 Medium Blue] [M118 Maroon} [M28 Dark Blue] [M40 Golden Brown] [M5 Light Grey] [M71 Cream] [M8 Medium Grey] [M58 Ivory] [M9 Dark Grey] [M65 Beige] [M70 Dark Brown] [M312 Medium Bronze] [M314 Dark Bronze] [M331 Light Bronze] [M33 Satin Black] [________]

  - Brass: [Brushed Satin (horizontal grain)] [Brushed Satin (vertical grain)] [Polished] [Light Oxidized] [Medium Oxidized] [Dark Oxidized]

  - Commercial Bronze: [Brushed Satin (horizontal grain)] [Brushed Satin (vertical grain)] [Polished]  [Light Oxidized] [Medium Oxidized] [Dark Oxidized]

  - Copper: [Brushed Satin (horizontal grain)] [Brushed Satin (vertical grain)] [Polished]

  - Muntz Metal: [Brushed Satin (horizontal grain)] [Brushed Satin (vertical grain)] [Polished] [Medium Oxidized]

  - Stainless Steel: [Brushed Satin (horizontal grain)] [Brushed Satin (vertical grain)] [Polished] [Random-Orbital (non-directional)]

  - Zinc: [Silvertone] [Coppertone] [Bronzetone] [Nickeltone] [Brasstone] [Two Color Painted] [Stainless Steel Tone]

- Clear Coating: [No Clear Coat] [Gloss] [Semi-Gloss]

- Mounting Methods:

  - Standard Mounting Methods: [None (no Drilling or Studs)] [Studs] [VHB Foam Tape] [Vinyl Spec Tape] [Spacers (specify spacer length: ________)]

SPECIFIER NOTE:  Virtually any size and letter style can be specified.  Select from one of Matthews’ 1,000 typefaces or scan and digitize from artwork.

- Typestyle:  [________][Use submitted artwork]

- Letter size: [Cap Height: ________ ]

PART 3:  EXECUTION

3.1 Examination

- Site Verification of Conditions:  Verify installation conditions previously established under other sections are acceptable for product installation in accordance with manufacturer's instructions.

- If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

3.2 Installation

- Clean surfaces thoroughly prior to installation.

- Install letters in accordance with manufacturer’s instructions using mounting methods specified.

- Install letters level, plumb, at heights and locations indicated.

- Install product at heights to conform to Americans with Disabilities Act Accessibility Guidelines (ADAAG) and applicable local amendments and regulations.

3.3  Cleaning, Protection & Repair

### Repair scratches and other damage which might have occurred during installation.

### Clean the installed product in accordance with manufacturer's instructions.

### Remove construction debris from project site in accordance with provisions outlined in Division 1.

END OF SECTION